## Example
Enter your values + requirements into the fields marked in red.
This table is for demonstration of the calculations only, it is NOT a validated Excel file!!!
Spiking experiment | Level [%] * | Theor. conc. of the sample [xxx] | Theor. conc. of added spike [xxx] * | Theor. Total conc. [xxx] | Response [xxx] | Calculated conc. [xxx] # | Recovery [%] | AC | Evaluation
| 75 | 750 | 375 | 1125 | 8850596.4375 | 1102.0673 | 97.9615 | x% ≤ Recovery ≤ y% | passed
[5 empty] | 8948405.8125 | 1113.266 | 98.957
[5 empty] | 9407446.125 | 1165.8238 | 103.6288
| 100 | 750 | 750 | 1500 | 12492218.0625 | 1519.015 | 101.2677
[5 empty] | 12280394.0625 | 1494.7622 | 99.6508
[5 empty] | 12581813.0625 | 1529.2732 | 101.9515
| 125 | 750 | 1125 | 1875 | 16930888.9375 | 2027.221 | 108.1185
[5 empty] | 17570571.2292 | 2100.4614 | 112.0246
[5 empty] | 17157199.3542 | 2053.1324 | 109.5004
* Add a spike that the sum of spike and sample are spanning 3 conc. of your range (75 to 125% is just an example)
| # For calculation, apply the regression function determined by your linearty experiments, y-intercept: | [5 empty] | -774859 | slope: | 8734
Use linearity data and calculate recovery | Level [%] | Theor. conc. [xxx] | Measured response [xxx] | Regression equation: y-intercept | Regression equation: slope | Back-calculated conc. [xxx] | Recovery [%] | AC | Evaluation
| 80 | 1200 | 10489898 | 91590.3333 | 8784.152 | 1183.7577 | 98.6465 | x % ≤ Recovery ≤ y % | passed
|  | 1200 | 10594228 |  |  | 1195.6348 | 99.6362
|  | 1200 | 11083871 |  |  | 1251.3764 | 104.2814
| 90 | 1350 | 11513839 |  |  | 1300.3246 | 96.3203
|  | 1350 | 11937356 |  |  | 1348.5383 | 99.8917
|  | 1350 | 12037028 |  |  | 1359.8851 | 100.7322
| 100 | 1500 | 13275901 |  |  | 1500.9201 | 100.0613
|  | 1500 | 13264077 |  |  | 1499.5741 | 99.9716
|  | 1500 | 13285496 |  |  | 1502.0124 | 100.1342
| 110 | 1650 | 14567078 |  |  | 1647.9095 | 99.8733
|  | 1650 | 14592609 |  |  | 1650.816 | 100.0495
|  | 1650 | 14558574 |  |  | 1646.9414 | 99.8146
| 120 | 1800 | 15949989 |  |  | 1805.342 | 100.2968
|  | 1800 | 15988084 |  |  | 1809.6788 | 100.5377
|  | 1800 | 15879247 |  |  | 1797.2886 | 99.8494
Use linearity data, normalize and calculate RSD | Level [%] | Theor. conc. [xxx] | Measured response [xxx] | Normalized response [xxx] | Mean [xxx] | SD [xxx] | RSD [%] | AC | Evaluation
| 80 | 1200 | 10489898 | 13112372.5 | 13270564.6295 | 209242.3127 | 1.5767 | RSD ≤ x % | passed
|  | 1200 | 10594228 | 13242785
|  | 1200 | 11083871 | 13854838.75
| 90 | 1350 | 11513839 | 12793154.4444
|  | 1350 | 11937356 | 13263728.8889
|  | 1350 | 12037028 | 13374475.5556
| 100 | 1500 | 13275901 | 13275901
|  | 1500 | 13264077 | 13264077
|  | 1500 | 13285496 | 13285496
| 110 | 1650 | 14567078 | 13242798.1818
|  | 1650 | 14592609 | 13266008.1818
|  | 1650 | 14558574 | 13235067.2727
| 120 | 1800 | 15949989 | 13291657.5
|  | 1800 | 15988084 | 13323403.3333
|  | 1800 | 15879247 | 13232705.8333
Lösungsfabrik
Lösungsfabrik
Lösungsfabrik

## Raw data sheet
Enter your values + requirements into the fields marked in red.
This table is for demonstration of the calculations only, it is NOT a validated Excel file!!!
Spiking experiment | Level [%] * | Theor. conc. of the sample [xxx] | Theor. conc. of added spike [xxx] * | Theor. Total conc. [xxx] | Response [xxx] | Calculated conc. [xxx] # | Recovery [%] | AC | Evaluation
|  |  |  | 0 |  | #DIV/0! | #DIV/0! | x% ≤ Recovery ≤ y% | passed
[6 empty] | #DIV/0! | #DIV/0!
[6 empty] | #DIV/0! | #DIV/0!
|  |  |  | 0 |  | #DIV/0! | #DIV/0!
[6 empty] | #DIV/0! | #DIV/0!
[6 empty] | #DIV/0! | #DIV/0!
|  |  |  | 0 |  | #DIV/0! | #DIV/0!
[6 empty] | #DIV/0! | #DIV/0!
[6 empty] | #DIV/0! | #DIV/0!
* Add a spike that the sum of spike and sample are spanning 3 conc. of your range (75 to 125% is just an example)
| # For calculation, apply the regression function determined by your linearty experiments, y-intercept: | [6 empty] | slope:
Use linearity data and calculate recovery | Level [%] | Theor. conc. [xxx] | Measured response [xxx] | Regression equation: y-intercept | Regression equation: slope | Back-calculated conc. [xxx] | Recovery [%] | AC | Evaluation
|  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | x % ≤ Recovery ≤ y % | passed
[6 empty] | #DIV/0! | #DIV/0!
[6 empty] | #DIV/0! | #DIV/0!
[6 empty] | #DIV/0! | #DIV/0!
[6 empty] | #DIV/0! | #DIV/0!
[6 empty] | #DIV/0! | #DIV/0!
[6 empty] | #DIV/0! | #DIV/0!
[6 empty] | #DIV/0! | #DIV/0!
[6 empty] | #DIV/0! | #DIV/0!
[6 empty] | #DIV/0! | #DIV/0!
[6 empty] | #DIV/0! | #DIV/0!
[6 empty] | #DIV/0! | #DIV/0!
[6 empty] | #DIV/0! | #DIV/0!
[6 empty] | #DIV/0! | #DIV/0!
[6 empty] | #DIV/0! | #DIV/0!
Use linearity data, normalize and calculate RSD | Level [%] | Theor. conc. [xxx] | Measured response [xxx] | Normalized response [xxx] | Mean [xxx] | SD [xxx] | RSD [%] | AC | Evaluation
|  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | RSD ≤ x % | passed
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
0
0
0
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
Lösungsfabrik
Lösungsfabrik
Lösungsfabrik